- Revision History

| Rev.No. | Details of changes | Reason for change |
| --- | --- | --- |
| 01 | NA | Periodic Review |
| 02 | NA | Periodic Review |

2.0    Objective

To lay down a procedure for handling of Interlocking devices for door operation.

# 3.0    Scopes

This SOP is applicable for the handling of Interlocking devices for door operation of C Block.

4.0	   Responsibility

Officer and Above Production/ IPQA Officer	:	Implemented the Procedure.

5.0	   Accountability

Production Head.

- Procedure

  - Ensure that the power supply is ON and green & red indicator light is glowing.

6.2    Ensure that red light ON at door status panel is glowing.

6.3    Show the access card on the sensor fixed adjacent to the door, green light display indicates door is open.

6.4   After pressing the green button on the panel, red indicator light will start glowing on next door.

This indicates the locking of next door of air lock.

6.5  Open the door and enter in air lock as soon as the door get closed green light ON both of the

Panels will start glowing.

6.6   Follow similar process for Exit from the area.

6.7   In case of no access control, press the green button on door status panel to operate the door

interlocking system.

6.8  Once the locked door gets open enter in the air lock.

7.0   Annexure (S)

NA

8.0   Reference (S)

NA

9.0   Glossary

SOP  		: Standard Operating Procedure.

NO    	            : Number

PC		: Production C-Block