# user requirement specification

# NAME OF THE ITEM: FURNITURE

# FUNCTIONAL AREA:  production

# PROTOCOL No. :        URS/BP/171

Alkem LABORATORIES LIMITED BADDI (UNIT-II)

village & po: thana, near baddi,

dist.: solan, himachal pradesh

CONTENT

Sr. No.	  Description

- URS Approval

- Objective

- Responsibilities

- Equipment Description & Identification

- User Requirements

- Complementary aspects

- Safety and environmental Protection

- Cleaning maintenance and service

- Rules and Regulation

- Scope of Delivery

- Installation ,Commissioning and Tests

- Qualification / Validation

- Guarantee /  Warrantee

1.0   URS APPROVAL:

Protocol Prepared By:

| Functional area | Name | Signature | Date |
| --- | --- | --- | --- |
| Production |  |  |  |

URS Reviewed By:

| Functional area | Name | Signature | Date |
| --- | --- | --- | --- |
| Production |  |  |  |
| Quality Assurance |  |  |  |
| Engineering |  |  |  |

URS Approved By:

| Functional area | Name | Signature | Date |
| --- | --- | --- | --- |
| Head Engineering |  |  |  |
| Head Manufacturing |  |  |  |
| Head Quality |  |  |  |

2.0	Objective:

The purpose of this document is to ensure that all the critical aspects of the Equipment, cGMP & Safety features have been considered in designing the equipment/instrument and is properly documented.

3.0   Responsibilities:

In accordance with the document, following functions shall be responsible for initiation and finalization of Equipment user requirement specification. When the work is carried by contract/ consulting staff, all the work is to be performed under the oversight of Alkem.

3.1 Preparation of Document

- User department to prepare the URS

- Ensures that the document is in compliance with current policies and procedures of cGMP regulations.

- Ensures that the content is sufficient, clearly defined, technically sound and accurate.

- It is a Guidance document to prepare the URS.

# 3.2 Review of Document

- To be reviewed by Head of the user department and functional department ( Engineering & Quality assurance)

# 3.3 Approval of Document

- Approval of document by Head Manufacturing/Head Engineering/Head Quality.

# 4.0	Equipment Description & Identification:

# 4.1       Scope:

This document covers all aspects of Users requirements for th Instrument along with all Attachment, Spare Parts, Change Parts and Accessories to be used in Alkem Laboratories Limited, Baddi, Himachal Pradesh (India).

Scope incorporates understanding and documentation of critical requirements such as system requirements, cGMP requirements, safety requirements, documentation

requirements.

# 4.2        Purpose:

# Furniture used in production area for the smooth work as per Requirement.

  - USER REQUIREMENTS

  - System Requirements:

| Sr. No. | SYSTEM COMPONENTS | SYSTEM REQUIREMENTS |
| --- | --- | --- |
| 01. | Identification | As per attached list |
| 02. | Model/Type | As per cGMP Requirement |
| 03. | Capacity | As per attached List |
| 04. | Potential Suppliers | - Visvakarma Resources - Allegro |
| 05. | Contact parts | SS316 with mirror finish |
| 06. 07. | Non contact parts | SS304 with mirror finish 1. Any material with food grade quality having no Potential impact on the products. 2. Durable. 3. 3. Must be easily cleanable. |
| 07. | Packaging & Transport | Should be packed and transported in such a way to avoid any damage during transportation. |
| 08. | No. of requirements | As per Attached List |

  - Technical Description

| Sr. No. | Specification | SYSTEM REQUIREMENTS |
| --- | --- | --- |
| 1. | Material of contact parts SS 316 | YES |
| 2. | Material of non contact parts SS 304 | YES |

6.0      COMPLEMENTARY ASPECTS

| 6.1 Pre Delivery Qualifications (FAT) |  |  |
| --- | --- | --- |
| Sr. No. | Specification | SYSTEM REQUIREMENTS |
| 6.1.1 | FAT | NA |

6.2 Supplier Technical Documentation Requirements:

| Sr. No. | COMPONENTS | REQUIREMENTS |
| --- | --- | --- |
| 6.2.1 | List of accessories | YES |

7.0 SAFETY AND ENVIRONMENTAL PROTECTION

| Sr No. | Specification | Requirements |
| --- | --- | --- |
| 7.1 | All Accessories must be in accordance with the cGMP. | YES |

8.0 CLEANING MAINTENANCE AND SERVICE

| Sr No. | Specification |
| --- | --- |
| 8.1 | In accordance with cGMP guidelines the units must be easy to clean, to disinfect, and where necessary. |
| 8.2 | The design should be such as to allow mechanical cleaning of the surface and that the cleanliness of the surface can be checked easily. |

9.0 RULES AND REGULATION

These standards, recommendation and requirements are considered  the minimum. Specifications that are more stringent or expansive take the precedence. In case of conflict between published requirements, final determination is the responsibility of the Owners Representative.

10. SCOPE OF DELIVERY

| Sr No. | Specification | Requirements |
| --- | --- | --- |
| 10.1 | Unload on site of the Furniture: The supplier is required to define all the necessary handling devices required to the unloading operation. The supplier will inform at least 2 weeks in advance the day of delivery and the list of required handling devices. | YES |
| 10.2 | A complete set of commissioning of Furniture’s. | YES |
| 10.3 | All MOC Certificates in case of Contact part as specified in Attached List. | YES |

11.0	 INSTALLATION, COMMISSIONING AND TESTS

11.1    General

| Sr.No. | Specification | Requirements |
| --- | --- | --- |
| 11.1.1 | All furniture’s as per User requirement | YES |

11.2 INSTALLATION , COMMISSION

| Sr. No. | Specification | Requirements |
| --- | --- | --- |
| 11.2.1 | Verification that the interior surfaces of equipment are free of practices and dirt and all points of product contact meet the specified material requirements. | YES |
| 11.2.2 | All the clearances and tolerances specified in the drawing or recommended by component manufacturers are correct. | YES |
| 11.2.3 | On site verification of all Furniture | YES |

11.3 Site Acceptance Test   (SAT)

| Sr.No. | Specification | Requirements |
| --- | --- | --- |
| 11.3.1 | Once the commissioning will be completed. The scope will be to verify the Requirements and the functionality of the accessories as per requirements. | YES |
| 11.3.2 | The functionality described in the User Requirements Specification and in the system specifications are verified and met. | YES |

# 13.0 GAURANTEE/WARRANTEE

| Sr.No. | Specification | Requirements |
| --- | --- | --- |
| 14.1 | The furniture must be guaranteed. | YES |
| 14.2 | Furniture should be user friendly | YES |