- Revision History

| Rev.No. | Details of changes | Reason for change |
| --- | --- | --- |
| 01 | NA | Periodic Review |
| 02 | NA | Periodic Review |

2.0    Objective

To  lay down a procedure for Man Movement in Aseptic area.

3.0    Scopes

This SOP is applicable for the Man Movement in aseptic area C Block.

4.0	   Responsibility

Officer and Above Production/ IPQA Officer	:	Implementation of Procedure.

5.0	   Accountability

Production Head.

6.0  Procedure:

  - Man movement in aseptic area starts from the change room I, II, III, IV to sterile passage.

  - Gowning & De-gowning procedure followed as per SOP No. PC/042.

  - Man power moves from sterile passage to either vial filling & bunging area , vial sealing area.

Cool zone and blending area and then from one area to another area as per the working

requirements.

6.4   Personnel shall follow aseptic area practices as per SOP No. PC/052.

7.0   Annexure (S)

NA

8.0   Reference (S)

SOP NO. - PC/042

PC/052

9.0   Glossary

SOP   	: Standard Operating Procedure.

NO.     	: Number

PC		: Production (C-Block)

IPQA		: In Process Quality Assurance