1.0   Revision History

| Rev.No. | Details of changes | Reason for change |
| --- | --- | --- |
| 01 | 1. change in SOP format 2.change in font type from time roman to Tahoma & font size from 12 to 10 | 1. Periodic Review 2. To make the document user friendly. |

2.0    Objective

To lay down a procedure for Cleaning and operation of air curtain.

3.0    Scope

This SOP is applicable for Cleaning and operation of air curtain area C Block at Alkem laboratories limited, Baddi.

4.0    Responsibility

Officer and Above Production/ IPQA Officer	:	Implementation of Procedure.

Technician                                                       :          cleaning and operation

5.0    Accountability

Production Head

Procedure

6.1 Operation

6.1.1 Check surrounding is clean.

6.1.2 Switch on the main power of air curtain.

6.1.3 In case of any problem observed, inform to Engg. Deptt. For corrective action and put the machine

” UNDER MAINTENANCE TAG”.

6.1.4 Air curtain should be on before open the door.

6.1.5 When the respective activity is over switch off the air curtain.

6.2 Cleaning

6.2.1 Switch of the air curtain.

6.2.2 Remove the dust from body of air curtain thoroughly with lint free duster.

6.2.3 Clean the air curtain thoroughly with wet mop(lint free).

6.2.4 Fix the guards in respective position.

6.2.5 Keep the curtain in OFF condition until it becomes dry.

7.0    Annexure (S)

NA

8.0   Reference (S)

NA

9.0   Glossary

SOP   		: Standard Operating Procedure.

NO          	: Number.

PC		: Production (B-Block)

NA                  : Not applicable