- Objective

To lay down a procedure for cleaning and sanitization of drain points.

- Scope

This procedure is applicable for cleaning and sanitization of drain points in manufacturing areas of Alkem Laboratories Ltd., Unit-II, Baddi.

- Responsibility

Production Technician: To carry out the activity in accordance with the procedure as mentioned in the SOP.

Production Officer/ Executive: To ensure that the activity is carried out in accordance with the procedure as mentioned in this SOP.

- Accountability

Production Head

- Procedure

  - Open the drain cover.

  - Remove the S.S. cup from the drain trap.

  - Remove the powder, trash in the drain, clean the cup with the brush and flush the drain with sufficient amount of water.

  - Fill the drain cup with 400 ml quantity of 2.5%v/v Dettol or 2.5%v/v Savlon on the alternate days.

  - Drain will be cleaned daily at the end of the shift.

  - Record the Cleaning and Sanitization of drains in a Format as per Annexure-I

- Annexure (S)

Annexure-I Cleaning and Sanitization of Drain points

- Reference (S)

NA

- Glossary

SOP		:	Standard Operating Procedure

NO		:	Number

S.S.		:	Stainless Steel

- Revision History

| Revision No. | Details Of Changes | Reason for Change |
| --- | --- | --- |
| 00 | New SOP | NA |