- Objective

To lay down the Procedure for Operation and Cleaning of Static Pass Boxes.

- Scope

This SOP is applicable for Operation and Cleaning of Static Pass Boxes in Area of Alkem Laboratories Ltd., Unit-II, Baddi.

- Responsibility

Production Technician: To carry out the activity in accordance with the procedure as mentioned in the SOP.

Production Officer/ Executive: To ensure that the activity is carried out in accordance with the procedure as mentioned in this SOP.

- Accountability

Head Production

- Procedure

  - Operation

    - In Production block static pass boxes are used for transfer of materials transfer from one side to other side.

    - In static pass boxes interlocking facility is available.

    - If one door of the static pass box is opened the other door will not open.

    - For operation of static pass box check both the doors are closed.

    - Open the door of the static pass box from the side you want to operate put the item in static pass box you want to transfer to the other side and close the door properly

    - Collect the item from the other side by opening the door.

    - If UV light is installed in the pass box then ensure when the pass box is in close condition the UV light should be “ON” and when the pass box is in open condition the UV light should be “OFF”.

  - Cleaning

    - Clean the static pass box with dry lint free cloth.

    - Mop the static pass box with wet (purified water) lint free cloth and followed by dry cloth.

    - Also sanitize with disinfectant solution available routinely at the end of the day.

    - Clean static pass box with dry lint free cloth followed by 70% IPA.

- Annexure (S)

NA

- Reference (S)

NA

- Glossary

SOP    :	 Standard Operating Procedure

No.     :  Number

9.0       Revision History

| Revision No. | Details Of Changes | Reason for Change |
| --- | --- | --- |
| 00 | New SOP | NA |